Reinforcement for surgical scrub up trough

304 stainless steel

Reference: 100409

Specification description

Reinforcement for surgical scrub up trough.

Bacteriostatic 304 stainless steel. Stainless steel thickness: 1mm.

Makes trough upstand more rigid. Fits over tap holes.

Stick to the back of the surgical trough using the double-sided adhesive supplied.

Weight: 1kg.

30-year warranty.