Cross-wall tamperproof controls ≤ 200mm

For cross-wall showers and basin controls

Reference: 749TC200

Specification description

Cross-wall tamperproof controls ≤ 200mm, chrome-plated metal.

With anti-rotating pin and back-nut.