Electronic control unit

For dual control TEMPOMATIC WCs

Cartridge and solenoid valve

Reference: 461032Y

Specification description

Electronic control unit: cartridge and solenoid valve.

Dual control.

Connections: 1" 1/4 Dimensions: Ø 4mm

For dual control TEMPOMATIC WCs.