Nanny joint for recessed water inlets

Inlet only without mixer

Kit 1/2

Reference: 794012

Specification description

Nanny joint for recessed inlet, Kit 1/2 :

For TEMPOFLUX 3 wall-mounted, connection directly to pipework.

Modulable installation (plaster rails, solid walls, panel).

Compatible with wall finishes from 2 to 25mm (max.).

Secure system flush without sensitive elements.

30-year warranty.