Thermostatic cartridge for shower mixers

SECURITHERM thermostatic sequential cartridge WATER FREE

For H9631/H9633 mixers

Reference: N962WF

Specification description

WATER FREE sequential thermostatic cartridge for recessed thermostatic shower mixers.

SECURITHERM cartridge for H9631/H9633 mixers.

Tested without water to comply with NHS requirements. No pre-set temperature.