Thermostatic cartridge for shower mixers

SECURITHERM thermostatic sequential cartridge WATER FREE

For H9630/H9640 mixers

Reference: N963WF

Specification description

WATER FREE thermostatic sequential cartridge for exposed thermostatic shower mixers

SECURITHERM cartridge for H9630/H9640 mixers.

Tested without water to comply with NHS requirements. No pre-set temperature.