Time flow cartridge for lead-free version

Mechanism for TEMPOSTOP urinalMécanisme pour TEMPOSTOP urinoir

Time flow ~7 sec, lead-free

Reference: 743528LF

Specification description

Time flow cartridge for TEMPOSTOP for urinals.

For 3/4" urinals.

With push-button

Time flow ~7 s.

Adjustable flow rate.

Lead-free brass.