TEMPOSTOP time flow basin tap - lead-free

Anti-blocking version (AB) - lead-free brass

Reinforced fixings

Reference: 745301LF

Specification description

Deck-mounted push-button basin tap:

Time flow ~7seconds.

Flow rate pre-set at 3 l/min at 3 bar, can be adjusted from 1.4 to 6 lpm.

Tamperproof, scale-resistant flow straightener.

Body in lead-free, chrome-plated brass M1/2".

Fixing reinforced by 3 stainless-steel back-nuts.

AB anti-blocking system: water flows only when push-button is released.

30-year warranty.