TEMPOSOFT 2 time flow urinal valve - lead-free

3 second time flow

Recessed, Soft-touch operation, lead-free

Reference: 777130LF

Specification description

Recessed time flow urinal valve:

For standard or siphon action urinals.

Cross-wall installation.

Ø 130mm stainless-steel fixing plate.

Adjustable locking between 1 and 5 mm.

Soft-touch operation.

~3 second time flow.

Flow rate pre-set at 0.15 l/sec at 3 bar, can be adjusted.

Chome-plated brass, lead-free M1/2".

Suitable for people with reduced mobility.

30-year warranty.

This sanitary ware model is not supplied with recessed waterproof housing, the installer must ensure the impermeability of recessed housing as well as draining any potential leaks and condensation (see installation guide).