Wall-mounted soap dispenser

Liquid soap dispenser for service ducts

Polished satin 304 stainless steel

Reference: 729170S

Specification description

Wall-mounted soap dispenser.

Model for service ducts for cross wall installation ≤ 190 mm.

Liquid soap dispenser.

Body and push-button in polished satin 304 stainless steel.

Anti-drip system (water-tight).

For remote tanks (supplied without tank) with 1.2m flexible tube.

Wall-mounted soap dispenser with 30-year warranty.