TEMPOMIX 3 time flow washbasin mixer

Soft-touch, deck-mounted, satin finish stainless steel, H.175

Single control

Reference: 794110S

Specification description

Single control time flow deck-mounted washbasin mixer:

Soft touch.

Temperature adjustment and activation with the button.

Time flow pre-set to ~7 seconds, adjustable from 6 to 9 seconds.

Pre-set flow rate at 3l/min at 3 bar, adjustable from 3 to 6l/min.

Vandal-resistant, scale-resistant flow straightener.

Satin finish stainless steel body.

175mm height for semi-recessed basin.

F3/8" PEX flexibles with filters and non-return valves.

Reinforced fixing with locking nut.

Pre-set temperature limiter.

Adapted for accessibility.

30 year warranty.