TEMPOSTOP time flow basin tap

For stud nut

Reference: 745200

Specification description

Deck-mounted push button basin tap:

~7 second time flow.

Flow rate pre-set at 3 lpm at 3 bar, adjustable from 1.4 to 6 lpm.

Tamperproof, scale-resistant flow straightener.

Chrome-plated brass body M1/2".

Bolt fixing for stud nut.

AB anti-blocking system: water will only flow when push-button is released.

30-year warranty.