TEMPOMIX 3 time flow basin mixer

Soft-touch operation, deck-mounted, H.255

Single control

Reference: 794120BK

Specification description

Deck-mounted single control time flow basin mixer:

Soft-touch operation.

Temperature control and operation via the push-button.

Time flow ~7 seconds, can be adjusted.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 3 to 6 lpm.

Tamperproof scale-resistant aerator.

Chrome-plated stainless steel body, 255mm height for deck-mounting.

Matte black finish.

F3/8" PEX flexibles with filters and non-return valves.

Fixing reinforced by back-nut.

Adjustable maximum temperature limiter.

Suitable for people with reduced mobility.

30-year warranty.