Battery-operated power supply for TEMPOMATIC 7

Reference: ACEX9023

Specification description

Mandatory accessory for TEMPOMATIC 7.

Battery compartment and 6V CR-P2 lithium battery.