

Mains supply for TEMPOMATIC 7



Reference: ACEX9022


Specification description

Mains supply for TEMPOMATIC 7.

For EU plugs 100-240V AC - 6.75V DC.

Safety cut-out in the event of a mains power failure.

Cable length: 700mm.
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