

Mains supply - recessed supply for TEMPOMATIC 7



Reference: ACEX9003


Specification description

Mains power supply for recessed installation, for TEMPOMATIC 7.

With 1m connecting cable.

Electronic supply: 100 - 240V.
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