

7V/12V central power supply



Reference: ACEX9001


Specification description

Central power supply, 100 - 240 V C.A.

Output voltage can switch between 7 V C.C., 31.5W or 12 V C.C., 50 W.

Mandatory accessory for the TEMPOMATIC 7.

Can supply up to 16 T7s at once.
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