MONOBLOCO S21 WC pan with cistern

Reference: 110390

CCTP description

Floor-standing WC pan with dual flush cistern 3/6 L. 370 x 815 x 620mm.

Bacteriostatic 304 stainless steel. Polished satin finish. Stainless steel thickness: 1.5mm.

One-piece pressed WC bowl, seam-free for better hygiene.

WC bowl surface is polished with rounded edges for easy cleaning.

Concealed perimetral flushing rim. Water supply can be recessed from below or exposed from the side (right/left).

Recessed horizontal or vertical waste outlet. Supplied with PVC pipe.

Pre-drilled holes for fixing the toilet seat. Supplied with stainless steel

blanking caps when installed without toilet seat lid.

Quick to install: 2 access panels with theft prevention TORX

security screws.

CE marked. Complies with European standard EN 997 for 4L flush.

Weight: 21kg.

10-year warranty.

[Formerly ref: 0110170002]