Wall-mounted TRAPEZ washbasin

Reference: 121270

CCTP description

Wall-mounted washbasin, 600 x 505mm.

Shallow washbasin suitable for people with reduced mobility.

Bacteriostatic 304 stainless steel. Polished satin finish.

Stainless steel thickness: 1.2mm.

Rounded edges prevent injury.

Supplied with 1 ¼" waste.

Without overflow.

With central tap hole Ø 35mm.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 5.5kg.

[Formerly ref: 3411270008]