HYBRIMATIC

Reference: 130008

CCTP description

Wall-hung individual urinal with hybrid rinsing system:

HYBRIMATIC system:

- Battery-operated by 123 6V Lithium batteries.

- Concealed fluid detector.

- Waste with membrane and no water level.

- Electronics integrated into the urinal.

- Micro-rinse for one second after each user in Eco programme (or 3 seconds in comfort programme).

- High frequency mode: rinse takes place at the end of the busy period.

- Hygienic duty flush for 7 seconds every 24 hours in Eco programme (or for 14 seconds every 12 hours in comfort programme): prevents smells and blockages in the pipework.

- Flow rate pre-set at 0.07 L/sec. at 3 bar, can be adjusted.

- Stopcock.

DELTACERAM wall-hung rimless urinal:

- Compatible with all standard frame systems on the market.

- Bacteriostatic 304 stainless steel.

- Ceramic.

- Rear water inlet.

- Complies with European standard EN 13407 (CE marked).

- Recessed horizontal waste outlet.

Provisional availability 1st half 2019. Please contact the sales office to check availability.