MINERALSTEEL washbasin

Reference: 150022D

CCTP description

Wall-mounted washbasin.

Sleek and smooth lines.

1 basin. With integrated wall brackets.

MINERALSTEEL: composite material reinforced with fibreglass.

Ideal for use in hospitals or public and commercial places.

Shallow washbasin suitable for people with reduced mobility.

Uniform, non-porous surface is easy to clean.

One-piece pressed washbasin, seam-free, for easy maintenance and better hygiene.

Warm to the touch.

Designed to prevent any water pooling.

With no tap hole.

Supplied with 1 ¼" waste. Without overflow.

White, RAL 9010.

Weight: 7kg.