2210L

Mechanical mixer for sinks or troughs

Reference: 2210L

Specification Description

Mechanical mixer for sinks and troughs with swivelling spout H. 145mm L. 225mm with hygienic flow straightener.

Ø 40mm ceramic cartridge.

Pre-set maximum temperature limiter.

Body and spout with smooth interiors.

Flow rate limited to 9 lpm at 3 bar.

Hygiene control lever L. 200mm.

Supplied with PEX flexibles F3/8".

Reinforced fixing via 2 stainless steel rods.

10-year warranty.