2510

Mechanical mixer for sinks or troughs

Reference: 2510

Specification Description

Mechanical sink and trough mixer with swivelling spout H. 155mm L. 230mm with hygienic flow straightener.

Ø 40mm ceramic cartridge.

Pre-set maximum temperature limiter.

Body and spout with smooth interiors.

Flow limited to 9 lpm at 3 bar.

Sculptured control lever.

Supplied with PEX flexibles F3/8".

Reinforced fixing by 2 stainless steel rods.

10-year warranty.