SECURITHERM EP basin mixer H. 85mm L. 135mm

Reference: 2521EP

CCTP description

SECURITHERM pressure-balancing basin mixer without pop-up waste.

Anti-scalding safety: HW flow rate is reduced if cold water supply fails (and vice versa).

Spout H. 85mm L. 135mm with BIOSAFE hygienic spout outlet.

Ø 40mm ceramic cartridge with pressure-balancing.

Pre-set maximum temperature limiter.

Flow rate limited to 5 lpm at 3 bar.

Sculptured control lever.

Reinforced fixings.

Supplied with F3/8" PEX flexibles with filters and non-return valves.