2739EP

SECURITHERM EP pressure-balancing shower mixer

Reference: 2739EP

Specification Description

SECURITHERM Pressure Balancing (EP) shower mixer with:

- Anti-scalding safety: HW flow is reduced if CW supply fails (and vice versa).

- Securitouch thermal insulation to prevent burns.

- Ø 40mm pressure-balancing ceramic cartridge and pre-set maximum temperature limiter.

- Flow rate regulated at 9 lpm.

Body with smooth interior and low water volume (reduces niches where bacteria can develop).

Chrome-plated brass body.

Sculptured control lever.

- M1/2" shower outlet with integrated non-return valve.

Mixer supplied with offset STOP/PURGE connectors, M1/2" M3/4", ideal for hospitals.