35164S

Basic drop-down grab bar Ø 32mm, L. 850mm

Reference: 35164S

Specification Description

Basic drop-down grab bar Ø 32mm, for people with reduced mobility.

Polished satin 304 stainless steel tube.

Length: 850mm.

Tube thickness: 1.2mm.

Visible fixings, secured to wall by a 6-hole stainless steel plate.

CE marked.