4048P

Wall-mounted toilet brush set

Reference: 4048P

Specification Description

Wall-mounted toilet brush set without lid.

Bacteriostatic bright polished 304 stainless steel.

Wall-mounted model with anti-theft lock for fixing.

Robust model.

Easy to clean: plastic bowl can be removed from above.

Plastic bowl with reservoir: avoids toilet brush sitting in residual water and reduces the risk of splashing when next used.

Stainless steel body 1mm thick.

Dimensions: Ø 90mm x 330mm.