ON/OFF waste

Reference: 581000

CCTP description

Washbasin waste 1 1/4" with stainless steel valve with free flow.

Recommended for all washbasins equipped with electronic or time flow mixers/taps and washbasins with an overflow.

Open/close by pressing the top of the waste.