ROUND shower head

Reference: 709000

CCTP description

Fixed shower head:

Recessed installation.

Flow rate 6 lpm at 3 bar.

Automatic flow rate regulation.

Scale-resistant and ligature-resistant adjsutable nozzle.

Chrome-plated brass.

Fixed with concealed blocking screw.

Systematically drains after use (no water retention or impurity deposits).

Inlet M1/2".

10-year warranty.