TONIC JET shower head

Reference: 712000

CCTP description

Recessed scale-resistant fixed shower head:

Flow rate 6 lpm at 3 bar.

Automatic flow rate regulation.

Scale-resistant and ligature-resistant nozzle with adjustable spray.

Chrome-plated solid brass.

Fixed with concealed blocking screw.

Systematically drains after use (no water retention or impurity deposits).

Inlet M1/2".

10-year warranty.