SPORTING 2 shower panel

Reference: 714700

CCTP description

Time flow shower panel:

Anodised aluminium and chrome-plated satin finish panel.

Adjustable connector for top or back inlets.

Slimline structure with concealed fixings.

Soft-touch operation.

Automatic mechanical flush with every use.

Time flow ~30 seconds.

Flow rate 6 lpm at 3 bar.

Tamperproof, scale-resistant fixed shower head with automatic flow rate regulation.

Adjustable spray.

Accessible non-return valve and filter.

Integrated stopcock.

M1/2" connection for mixed water supply.

10-year warranty.