TEMPOGENOU

Reference: 735400

CCTP description

Knee-operated time flow basin valve:

Time flow ~7 sec.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.5 to 6 lpm.

Control lever reinforced by an internal stainless steel rod.

Solid brass wall plate with reinforced fixing via 4 stainless steel screws.

Cold or mixed water supply.

Chrome-plated solid brass body M1/2".

Straight model for in-line inlet.

10-year warranty.