TEMPOSOFT 2

Reference: 740500

CCTP description

Deck-mounted time flow basin tap:

Soft-touch operation.

Time flow ~7 seconds.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.5 to 6 lpm.

Tamperproof scale-resistant flow straightener.

Solid chrome-plated brass body M1/2".

Fixing with back-nut.

Supplied with red and blue markers.

10-year warranty.