TEMPOSTOP

Reference: 745440

CCTP description

Deck-mounted time flow lever-operated basin tap:

Time flow ~7 sec.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.5 to 6 lpm.

Tamperproof scale-resistant flow straightener.

Solid chrome-plated brass body M1/2".

>Lever control (soft-touch operation).

10-year warranty.