TEMPOSTOP

Reference: 746292

CCTP description

Wall-mounted time flow basin tap:

Time flow ~7 sec.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.5 to 6 lpm.

Tamperproof scale-resistant flow straightener.

Solid chrome-plated brass body with wall plate M1/2".

10-year warranty.