TEMPOSTOP

Reference: 746410

CCTP description

Wall-mounted lever-operated time flow tap:

Time flow ~7 sec.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.5 to 6 lpm.

Scale-resistant tamperproof

flow straightener.

Chrome-plated solid brass M1/2".

Lever-operated (soft-touch operaton).

10-year warranty.