TEMPOSOFT 2 shower valve

Reference: 749870

CCTP description

Time flow shower valve for panels:

TEMPOSOFT 2 M1/2" time flow valve for mixed water supply.

For panels or dry walls 7mm max.

Soft-touch operation.

Time flow ~30 seconds.

Flow rate pre-set at 9 lpm at 3 bar, can be adjusted.

Solid brass body.

10-year warranty.

This model does not have a waterproof recessing box. The installer must ensure that the recessing area is waterproof and any leaks or condensates can drain away (see installation guide).