TEMPOCHASSE

Reference: 760004

CCTP description

Exposed time flow flush kit:

For wall-mounted exposed installation.

For conventional pans.

Time flow ~7 seconds.

Vacuum breaker.

In-line F1" chrome-plated brass stopcock and flow/volume rate adjuster.

Chrome-plated solid brass body and push-button.

Shock-resistant mechanism.

Bright polished stainless steel elbow flush tube Ø 32mm with nut and collar.

Base flow rate: 1.2 L/sec.

10-year warranty.