TEMPOFLUX 1

Reference: 761002

CCTP description

Exposed time flow flush valve kit for direct flush:

Soft-touch operation.

Time flow ~7 sec.

Vacuum breaker.

Separate stopcock and angled flow/volume rate adjuster.

Chrome-plated solid brass body and push-button.

Angled inlet F3/4".

With chrome-plated outlet tube, collar and connection washer.

10-year warranty.