TEMPOFLUX 1

Reference: 761200

CCTP description

Cross wall time flow kit for direct flush:

For walls ≤ 200mm.

Soft-touch operation.

Time flow ~7 seconds.

Vacuum breaker.

Integrated stopcock and flow rate/flush volume adjuster.

Solid brass body and chrome-plated push-button.

In-line inlet M3/4".

Connection washer Ø 32/55mm.

Threaded rod can be cut-to-size.

Base flow rate: 1 L/sec.

10-year warranty.