TEMPOSOFT 2

Reference: 777800

CCTP description

Exposed time flow urinal valve:

For standard or siphon action urinals.

For wall-mounted exposed installation.

Soft-touch operation.

Time flow ~3 seconds.

Flow rate pre-set at 0.15 l/sec. at 3 bar, can be adjusted.

Solid brass body M1/2".

Straight for in-line inlet.

10-year warranty.