TEMPOFLUX

Reference: 778755

CCTP description

Exposed time flow urinal valve:

For standard (with rim) or siphon action urinals.

For wall-mounted exposed installation.

Soft-touch operation.

Time flow pre-set at 3 seconds, can be adjusted from 3 to 7 seconds (patented).

Vacuum breaker.

Flow rate pre-set at 0.15 l/sec. at 3 bar, can be adjusted up to 0.3 l/sec.

Innovative stopcock and flow rate adjustment system integrated in the wall plate (patented).

Complies with the European standard EN 12541 (acoustic level II).

Chrome-plated solid brass body M1/2".

With a chrome-plated neck tube and connection washer Ø 35mm.

Angled for recessed inlet.

10-year warranty.