TEMPOMIX 3

Reference: 794055

CCTP description

Wall-mounted single control time flow basin mixer:

Soft-touch operation.

Temperature control and operation via the push-button.

Time flow pre-set at ~7 seconds, can be adjusted from 3 - 10 seconds.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.5 - 6 lpm.

Tamperproof, scale-resistant flow straightener.

Chrome-plated solid brass body L. 190mm.

Wall-mounted M1/2".

Recessed inlets.

Filters and non-return valves.

Adjustable maximum temperature limiter.

10-year warranty.