Chrome-plated single jet shower head M1/2"

Reference: 815

CCTP description

M1/2" shower head, Ø 100mm.

Chrome-plated ABS.

Single jet: rain effect.

Non-slip grip.

Manual system for removing limescale: scale deposits can be removed by rubbing the holes.