DELABIE_C100M35836T3

**SILVER flexible shower hose**

Reference: 836T3

Specification Description

Smooth, metal-effect, reinforced PVC, SILVER flexible shower hose, FF1/2", L. 0.85m.

Easy to maintain and limits bacterial retention.

PVC reinforced hose with thread polyester conforms to European standard EN 1113.

Smooth, food grade, PVC inner tube.

Chrome-plated, conical brass connectors 1/2".

Will withstand strain up to 50kg, bending and twisting.