Auto-draining device

Reference: 880

CCTP description

Auto-draining device in chrome-plated brass  which automatically drains the shower head and flexible hose.

Prevents water stagnation and reduces bacterial proliferation.

Inlet F1/2" with filter to connect to the bottom outlet of the mixer.

Outlet M1/2" to connect to the flexible hose.

For use with a short flexible hose 834T3 or 836T3.