DOCMEXP1

Exposed shower pack

Reference: DOCMEXP1

Specification Description

White powder-coated DOC M Exposed shower pack. 19 items:

2 Drop-down support rails, length 760mm.

3 Grab bars, length 600mm.

2 Grab bars, length 450mm.

1 Lift-up shower seat.

1 Backrest, depth 125mm.

1 Shower curtain rail, 1,200 x 1,200mm.

2 Shower curtains, white PVC.

1 Stainless steel coat hook.

1 SECURITHERM single lever sequential thermostatic exposed shower mixer.

1 Chrome-plated TONIC JET shower head, tamperproof and scale-resistant, with automatic flow rate regulator at 6 lpm.

1 Exposed diverter valve.

1 Multi-mode shower kit, 1.5m hose.

1 Shower hose retaining collar: retains shower hose correctly.

1 Riser pipe, 1m.

10-year warranty.

CE marked.